LP-15 (R)

A. FOR THE SERIAL INTERFACES

THE PROTOCOLS FOR THE CAS STANDARD SERIAL INTERFACE

THIS IS HALF-DUPLEX COMMUNICATION RS-232C.

A. 1 THE COMMUNICATION AGREEMENTS 1. BAUD RATE -> 9,600 BPS

2. DATA BIT -> 8 BIT

3. STOP BIT -> 1 BIT

4. PATIRITY BIT -> NO

5. COMMUNICATION LEVEL

-> RS-232C LEVEL

6. DATA FORMAT -> ASCII

7. THE COMMAND DEFINITIONS

A. 2 THE WIRE CONNECTIONS

A. 2. 1 THE WIRE CONNECTIONS OF THE D-SUB 9 PIN CONNECTOR OF A COMPUTER SIDE

A. 2. 2 THE WIRE CONNECTIONS OF THE D-SUB 25 PIN CONNECTOR OF A COMPUTER SIDE

COMPUTER RXD(PIN 2) TXD(PIN 3) GND(PIN 5) RTS(PIN 7) CTS(PIN 8) DTR(PIN 4) DSR(PIN  6)

SCALE

TXD(PIN  2)

RXD(PIN 3) GND(PIN 7)

SCALE TXD(PIN 2) RXD(PIN 3) GND(PIN 7)

COMPUTER RXD(PIN 3) TXD(PIN 2) GND(PIN 7) RTS(PIN 4) CTS(PIN 5) DCD(PIN 8) DSR(PIN 6) DTR(PIN 20)